Walking/Working Surface Safety Audit

| Department: |  |  | Location: |  |  | Date: |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Completed By: |  |  |  |  |  |  |  |

| General Conditions |  |  |
| --- | --- | --- |
| Yes | No | Inspection Point |
|  |  | - Are all worksites clean and orderly? |
|  |  | - Are machines and work areas swept clean at the end of each shift or workday and are debris, scrap, and other waste picked up and removed from the work area? |
|  |  | - Are work areas adequately illuminated? |
| Walkways |  |  |
| Yes | No | Inspection Point |
|  |  | - Are aisles and passageways kept clear and passable? |
|  |  | - Are aisles and walkways marked as required? |
|  |  | - Are working surfaces kept dry and free of wet or otherwise slippery conditions? |
|  |  | - Are wet or slippery surfaces, inherent to the production operation, covered with non-slip material or otherwise made safe? |
|  |  | - Is there safe clearance for walking in aisles where motorized equipment is used? |
|  |  | - Are standard guardrails (42” high with a 21” mid rail and 4” toeboard) provided whenever aisles, walkways, or working surfaces are elevated more than 4 feet off the floor or work area? |
|  |  | - Are bridges or crossovers provided over conveyors or similar hazards at strategic locations to prevent people from crawling over or onto conveyor systems or similar hazards? |
| Floor Or Wall Openings |  |  |
| Yes | No | Inspection Point |
|  |  | - Does a cover, guardrail, or equivalent provide protection on all sides of floor openings? |
|  |  | - Are toeboards installed around the edges of permanent floor openings? |
|  |  | - Are grates or similar type covers over floor openings designed so foot traffic or rolling equipment will not be affected by the spacing or construction of the grate? |
|  |  | - Are unused portions of service pits and pits not actually in use either covered or protected by guardrails or equivalent? |
| Stairs and Stairways |  |  |
| Yes | No | Inspection Point |
|  |  | - Are standard stair rails or handrails on all stairways having four or more risers (steps)? |
|  |  | - Are all stairways at least 22” wide? |
|  |  | - Is there a vertical clearance of at least 7 feet from the leading edge of any stair tread to any overhead obstruction, which also includes the ceiling? |
|  |  | - Are all step risers on stairs uniform in height from top to bottom? |
|  |  | - Are steps on stairs and stairways designed or provided with a surface that renders them slip-resistant? |
|  |  | - Are stairway handrails located between 30-34” above the leading edge of the stair treads? |
|  |  | - Do stairway handrails have at least 3” of clearance between the handrails and the surface they are mounted to? |
| Elevated Surfaces |  |  |
| Yes | No | Inspection Point |
|  |  | - Are surfaces elevated more than 4 feet above the floor or ground protected with standard guardrails (a railing 42” from the floor with a mid rail at 21”)? |
|  |  | - Are all elevated surfaces provided with a standard 4” toeboard? |

Date: ____________

Completed By: __________________

| ITEM | CORRECTIVE ACTION | ASSIGNED TO | COMPLETED |
| --- | --- | --- | --- |